HERLONG PUBLIC UTILITY DISTRICT

SPECIAL MEETING

**3 PM Friday, December 2nd 2022**

County Chapel Building

DS Hall

Herlong CA 96113

**AGENDA**

**Introductions:**

HPUD

Shaw Engineering

Rapid Construction

**Project Scope**

WPV-Replace all water and wastewater utilities within the public ROW.

Public ROW is 50 feet (Street Width 32’ plus 2’ curb on each side + 7 ft on each side of curb).

Hillcrest-Replace existing water main in backyard with new water main located in Public ROW. Reconnect existing water services to new main.

Not a storm drain project. Will not solve drainage issues.

**Tentative Overall Construction Schedule**

WPV Sewer Dec 2022 thru June 2023

WPV Water May 2023 thru August 2023

Hillcrest Water July 2023 thru Sept 2023

WPV/Hillcrest Paving and Concrete Work July 2023 thru Sept 2023

Updates as the Work Progresses

**Restoration of Facilities within the Public ROW**

**Residence Access During Construction**

**Special Accommodations**

**Recreational Vehicles Parked in the Public ROW**